Hot Tub Control – 2015.03.29

Define:

Hot Tub – 10.11.2.
Pool – 10.11.2.
Bunker – 10.11.2.
Database – 10.11.2.

At each site:

Raspberry Pi Program – Python
Measure all sensors
Update local variables
Output local contols

Every 10 seconds:
Write to Database
Update local variables from Database

Hot Tub Local Sensors
Tub Temperature
Circulator Temperature
Air Temperature
Controller heat demand
High-speed pump demand
Low-speed pump demand

Hot Tub local controls:
High Speed Pump
Low Speed Pump
Pump Common

Hot Tub Local Variables = database values
Tub Temperature
Circulator Temperature
Air Temperature
Controller heat demand
High-Speed Demand
Low-speed demand
Tub InUse
Time of last request
Tub Heat Demand

Hot Tub database variables
Tub Temperature
Circulator Temperature
Air Temperature
Tub in use
Tub heat demand

Pool Sensors:
Pool Temperature
Garage demand
Storage demand
Connector demand
Modine demand
Pool floor demand
Pool demand

Pool Controls:
Pool filter circulator
Pool heat circulator / zone valve
Pool floor circulator
Hot tub circulator / zone valve
Garage circulator
Storage circulator
Modine circulator
Connector circulator

Pool Variables:
Pool temperature
Garage demand
Storage demand
Connector demand
Modine demand
Pool Floor demand
Pool high-temp demand
Pool low-temp demand

Pool Database variables
Pool temperature
Pool high-temp demand
Pool low-temp demand
Hot tub circulator demand

Bunker Sensors:
Boiler temperature
DHW temperature
Living Room Floor demand
Basement demand
Stair demand
DHW demand in
Office demand

Bunker Controls:
Pool Circulator
DHW demand out
Pool heat demand

Bunker variables:
Boiler temperature
DHW temperature
DHW demand in
Pool high-temp demand
Pool low-temp demand
Hot tub heat demand
Hot tub in use
High Temp Start Time
High Temp End Time